## Sheet1
TABLA DE OFERTAR
SUBASTA FORMAL 23J-02166
ADQUISICIÓN DE SERVICIOS DE REPARACIONES DE INFRAESTRUCTURA GENERAL DEL LABORATORIO VETERINARIO Y AGROLÓGICO DE DORADO, ADSCRITO AL DEPARTAMENTO DE AGRICULTURA DEL GOBIERNO DE PUERTO RICO
Partida | Descripción | Costo Materiales | Costo Labor | Total | Garantía | Término de Entrega
Bldg 3 / A/C unit
1 | Remove and replace 2, 25-ton Split System, Air-Cooled Condensing Unit, and air handler.
2 | Remove and replace 1, 25-ton Split System, Air-Cooled Condensing Unit.
3 | Remove and replace 1 CIAC 3-ton Split System, Air-Cooled Condensing Unit.
4 | Remove and replace 1 CIAC 3-ton Split System, Air-Cooled Condensing Unit.
Bldg 3 / Eastside
5 | Remove and replace 3 Roll-up Aluminum Shutters, 48 IN wide x 63 IN high.
6 | Remove and replace, 2 Ventilator Blower (1/2 hp).
Bldg 3 / Entrance
7 | Replace 1 Aluminum Letter "A", (10 inch, gauge 16).
Bldg 3 / Microbiology RM
8 | Remove and replace 3, 2' x 4' Fluorescent lighting fixtures.
Bldg. 3 / Roof
9 | Clean 11 roof drains, 7-in dia.
10 | Remove and replace, 2 Centrifugal Fan Utility Blower.
11 | Remove and replace, 2 Centrifugal Roof Exhauster.
Bldg 3 / South / East / North
12 | Remove and replace 3 Accordion Style-Brown Aluminum Storm Shutters, 72 IN wide x 65 IN high.
East Perimeter
13 | Remove and replace 29 Chain Link Fence- Barbed Wire Arm (45 Degree, Pressed Steel, 1-5/8 in. X 1-5/8 in.)
14 | Replace 205 LF Chain Link Fence- Barbed Wire (8-12 AWG, 2 strands, zinc coated steel, 3 point barbs).
South East Perimeter
15 | Remove and replace, 2 Ornamental Steel Fence Panels (1 in. sq. Pickets / 2 in. x 1 in. Rails / 2 1/2 in. Posts), 10 FT long x 6 FT high.
16 | Prepare and paint, 615 FT of Ornamental Steel Fence Panels.
South Perimeter
17 | Remove and replace, 20 CF of Concrete Footing, and remove and replace 25 Ft metal light pole.
Southeast Perimeter
18 | Remove and replace, 32 CF of Concrete Footing and remove and replace 2 each 3 in. dia x 40 ft. (H) metal flag pole.
West Parking Area
19 | Remove and replace, 140 SF of Galvanized Corrugated Metal Roof Panels.
20 | Remove and replace, 3 of Pavilion Roof- Wood Framing- Treated Purlins (2 in. x 6 in.), 18 FT long.
21 | Remove and replace, 1 Pavilion Roof- Wood Framing-Treated Band Joist or Girt (2 in. x 4 in.), 35 FT long.
22 | Remove and replace 6 Pavilion Roof - Wood Framing- Treated Rafter (2 in. x 6in.), 5 FT long.
Bldg 1 / Security
23 | Remove and replace 5 Surveillance Camera Complete System
Bldg 1 / East Façade / West Façade
24 | Remove and replace 480 LF of K-Style Aluminum Rain Gutter 8-in.
Bldg 1 / Roof
25 | Apply Urethane Roof sealer and coat of elastomeric roof membrane 13,000 SF
Bldg / Site Perimeter
26 | Prepare, repare and paint 60 LF of galvanized 1”x1” fence (Including 3each gate 20 LF)
Bldg 2 & 3 / Parking Lot
27 | Prepare and replace 47 Ton @ 3” Thickness
Allowance
28 | Allowance |  |  | 20000
Costo Total
Total = $