## Mayaguez RC
Item | Descripción | Cantidad | Unidad | Costo Unitario | Costo Total | Tiempo de Entrega | Garantía | Marca y Modelo
DIV. 7- THERMAL & MOISTURE CONTROL
1 | Remove, dispose, supply and installation of a in-kind Aluminium Roof Flashing (63ft long x 12in wide) | 1 | EA |  | 0
2 | Remove, dispose, supply and installation of a in-kind Aluminium Downspout (3in wide x 15ft high) | 1 | EA |  | 0
3 | Remove, dispose, supply and installation of a in-kind Aluminium Rain Gutters (63ft long x 8in wide) | 1 | EA |  | 0
DIV.8- OPENINGS
4 | Remove, dispose, supply and installation of a in-kind Aluminum Jalousie Window (36in Long X 66in wide) | 1 | EA |  | 0
5 | Remove, dispose, supply and installation of a in-kind Aluminum Jalousie Window (36in Long X 72in wide) | 1 | EA |  | 0
DIV.9 - FINISHES
6 | Remove, dispose, supply and installation of a in-kind Acoustical Ceilings (2ft long x 2 ft wide) | 40 | SF |  | 0
7 | Prepare and paint in-kind 3 SF of Exterior Concrete Wall Paint | 3 | SF |  | 0
8 | Prepare and paint in-kind 5.81 SF of Interior Wall Paint (19in Long X 44in Wide) | 5.81 | SF |  | 0
9 | Prepare and paint in-kind 4 SF of Interior Wall. | 4 | SF |  | 0
10 | Prepare and paint in-kind 352 SF of Exterior Wall Paint | 352 | SF |  | 0
11 | Prepare and paint in-kind 24 SF of Interior Celling Paint | 24 | SF |  | 0
12 | Prepare and paint in-kind 48 SF of Interior Wall Paint | 48 | SF |  | 0
13 | Prepare and paint in-kind 376 SF of Interior Celling Paint | 376 | SF |  | 0
14 | Prepare and paint in-kind 150 SF of Interior Wall Paint | 150 | SF |  | 0
15 | Prepare and paint in-kind 480 SF of Interior Celling Paint | 480 | SF |  | 0
16 | Prepare and paint in-kind 36 SF of Interior Wall Paint | 36 | SF |  | 0
17 | Prepare and paint in-kind 18 SF of Interior Wall Paint | 18 | SF |  | 0
18 | Prepare and paint in-kind 281 SF Exterior Metal Siding Wall | 281 | SF |  | 0
DIV.10 - SPECIALTIES
19 | Remove, dispose, supply and installation of a in-kind Wood Signape (8ft Wide X 4ft High). Build and install treated wood frame (2” x 4”), painted, with treated wood panel painted insert for a future sign (8ft wide x 4ft high) | 1 | EA |  | 0
DIV.15 - MECHANICAL WORKS
20 | Remove, dispose, supply and installation of a in-kind Trane HVAC Unit (Model 2TTB3018A, 18K BTU HVAC Units) | 3 | EA |  | 0
21 | HMP: Supply and installation of Anchoring system for Trane HVAC Unit (Model 2TTB3018A, 18K BTU HVAC Units) | 3 | EA |  | 0
22 | Remove, dispose, supply and installation of a in-kind Trane HVAC Unit (Model MCW518K10RAB, 12K BTU HVAC Units) | 1 | EA |  | 0
23 | HMP: Supply and installation of Anchoring system for Trane HVAC Unit (Model MCW518K10RAB, 12K BTU HVAC Units) | 1 | EA |  | 0
DIV.16 - ELECTRICAL WORK
24 | PVC Condulet 1" | 1 | EA |  | 0
|  | Total de la Oferta para el Site #1: Mayaguez RC |  |  | 0
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________

## Vega Baja RC (2)
Item | Descripción | Cantidad | Unidad | Costo Unitario | Costo Total | Tiempo de Entrega | Garantía | Marca y Modelo
DIV. 2- SITE CONSTRUCTION
1 | Asbesto Abatement | 1 | LS |  | 0
2 | Lead Abatament | 1 | LS |  | 0
DIV.3- CONCRETE
3 | Remove, dispose, supply and installation of in-kind 1 each electrical concrete pole (includes rewiring and bulb); Type H3 (35ft high) | 1 | EA |  | 0
DIV.5- METALS
4 | Repair 1 each steel roof access ladder with safety cage and security door, 18ft high. | 1 | EA |  | 0
5 | Remove, dispose, supply and installation of a in-kind 400 SF of corrugated galvanized steel roof panels | 400 | SF |  | 0
6 | HMP: Anchoring system that will resist expected wind to prevent it from being overturned and damaged. | 1 | EA |  | 0
DIV.7- THERMAL & MOISTURE CONTROL
7 | Remove, dispose, supply and installation of a in-kind 4in diameter PVC pipes, 9 LF long | 9 | LF |  | 0
DIV.8 - OPENINGS
8 | Remove, dispose, supply and installation of in-kind 1 each aluminum and glass fixed window (30in wide x 24in high) | 1 | EA |  | 0
9 | Remove, dispose, supply and installation of a in-kind aluminum and glass sliding windows (4ft wide x 10ft high) | 3 | EA |  | 0
10 | Remove, dispose, supply and installation of a in-kind aluminum jalousie window (3ft long x 3ft wide) | 2 | EA |  | 0
11 | HMP: Install vinyl shatterproof safety & security window film. A total of 720 SF including other glass windows located in the building. | 720 | SF |  | 0
DIV.9 - FINISHES
12 | Repair in-kind interior cement plaster (30in long x 12in wide) | 2.5 | SF |  | 0
13 | Prepare and paint in-kind of interior wall. | 6300 | SF |  | 0
14 | Repair in-kind 300 SF concrete ceiling (includes corroded rebars, cement plaster and cracks repairment) | 300 | SF |  | 0
DIV.15 - MECHANICAL WORKS
15 | Remove, dispose, supply and installation of a 35 gallons Solar Water Heater. | 1 | EA |  | 0
16 | HMP: Anchoring system for a 35 gallons Solar Water Heater that will resist expected wind pressure to prevent it from being overturned and damaged. | 1 | EA |  | 0
17 | Remove, dispose, supply and installation of A/C Split Unit with a Trane Evaporator Unit MCX048E10RCA and a XE-1000 Condenser Unit TTR048D100A2, 48,000 BTU | 1 | EA |  | 0
18 | Remove, dispose, supply and installation of A/C Split Unit Trane MWW536K10RAA, 36,000 BTU | 1 | EA |  | 0
[5 empty] | 0 | GARANTIA: | MODELO: | GARANTIA:
0
19 | HMP: Anchoring system for A/C unit | 2 | EA |  | 0
DIV.16 - ELECTRICAL WORK
20 | Remove, dispose, supply and installation of in-kind bulb at electrical concrete pole (includes rewiring); Type H3 (35ft high) | 2 | EA |  | 0
21 | Remove, dispose, supply and installation of in-kind helicopter landing pad perimeter lights FL-860. | 8 | EA |  | 0
22 | Remove, dispose, supply and installation of in-kind 1in diameter PVC electrical conduit, 100 LF long | 100 | LF |  | 0
23 | Remove, dispose, supply and installation of in-kind fluorescent recessed light (4ft long x 2ft wide) | 2 | EA |  | 0
|  | Total de la Oferta para el Site #2: Vega Baja RC |  |  | 0
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________

## Ponce RC (3)
Item | Descripción | Cantidad | Unidad | Costo Unitario | Costo Total | Tiempo de Entrega | Garantía | Marca y Modelo
DIV. 2- SITE CONSTRUCTION
1 | Asbesto Abatement | 1 | LS |  | 0
2 | Lead Abatament | 1 | LS |  | 0
DIV.8 - OPENINGS
3 | Remove, dispose, supply and installation of in-kind aluminum jalousie window (30in long x 30in wide) | 1 | EA |  | 0
4 | Remove, dispose, supply and installation of in-kind solid wood entrance double door (44in wide x 80in high) | 1 | EA |  | 0
5 | Remove, dispose, supply and installation of in-kind solid wood entrance door frame (6in wide x 80in high). | 1 | EA |  | 0
DIV.9 - FINISHES
6 | Repair in-kind 21 SF of exterior wall plaster, (7ft X 3ft) | 21 | SF |  | 0
7 | Prepare and paint in-kind 7,098 SF of exterior paint wall | 7098 | SF |  | 0
8 | Prepare and paint in-kind 2,926 SF of ceiling paint. | 2926 | SF |  | 0
DIV.16 - ELECTRICAL WORK
9 | Remove, discard, supply and installation of in-kind exterior PVC, LR electrical condulet 1 IN | 2 | EA |  | 0
|  | Total de la Oferta para el Site #3: Ponce RC |  |  | 0
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________

## Arecibo RC (4)
Item | Descripción | Cantidad | Unidad | Costo Unitario | Costo Total | Tiempo de Entrega | Garantía
DIV. 2- SITE CONSTRUCTION
1 | Asbestos Abatement | 1 | EA |  | 0
2 | Remove, dispose, supply and installation of a Lift Master barrier gate, Chamberlain BG770 with 8ft wood arm | 1 | EA |  | 0
DIV.8 - OPENINGS
3 | Remove, dispose, supply and installation of a in-kind Aluminum and Glass Jalousie Window, 3ft long x 1ft wide. | 1 | EA |  | 0
4 | Remove, dispose, supply and installation of a in-kind aluminum jalousie windows, 2.5ft wide x 6ft high | 8 | EA |  | 0
5 | HMP: Remove, dispose, supply and install windows with storm rated windows with weather stripping for water intrusion. | 8 | EA |  | 0
6 | Remove, dispose, supply and installation of silicon sealer of windows frames, 136 LF | 136 | LF |  | 0
7 | Remove, dispose, supply and installation of a in-kind Aluminum and glass door (4ft wide x 7ft high) | 1 | EA |  | 0
8 | HMP: Add a rolling aluminum shutter to protect entrance door | 1 | EA |  | 0
DIV.9 - FINISHES
9 | Prepare and paint in-kind 1,900 SF of interior paint. | 1900 | SF |  | 0
10 | Remove, dispose, supply and installation of in-kind 250 SF of Acoustic ceiling tiles (4ft long x 2ft wide) | 250 | SF |  | 0
DIV.15 - MECHANICAL WORKS
11 | Remove, dispose, supply and installation of a kind aluminum A/C vent grid, 20in x 24in | 1 | EA |  | 0
12 | Remove, dispose, supply and installation of similar or equal 3 each of Trane A/C split unit 2TTR2018A1000AA, 18,000 BTU | 3 | EA |  | 0
13 | Remove, dispose, supply and installation of similar or equal 1 each of Trane A/C split unit 2TTR2060B1000AA, 60,000 BTU / 5 Tons | 1 | EA |  | 0
DIV.16 - ELECTRICAL WORK
14 | Remove, dispose, supply and installation of a in-kind security cameras at house guard, access control (similar or equal to Owl brand, CAM-CM01-245, 45ft range, night vision). | 4 | EA |  | 0
15 | Remove, dispose, supply and installation of a Fluorescent recessed light fixture (4ft long x 2ft wide) | 2 | EA |  | 0
|  | Total de la Oferta para el Site #4: Arecibo RC |  |  | 0
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________

## Aibonito RC (5)
Item | Descripción | Cantidad | Unidad | Costo Unitario | Costo Total | Tiempo de Entrega | Garantía | Marca y Modelo
DIV. 11- EQUIPMENT
1 | Remove, dispose, supply, and installation of a similar or equal McCall commercial refrigerator and/or freezer -Mod. 1020 | 1 | EA |  | 0
2 | Remove, dispose, supply, and installation of a similar or equal Victory commercial refrigerator and/or freezer VF1NSF. | 1 | EA |  | 0
3 | Remove, dispose, supply, and installation of a similar or equal Ice-o-Matic Ice maker machine - NSE/ICE0500FA3. | 1 | EA |  | 0
4 | HMP: Supply and Install a 120V / single phase surge protector. | 3 | EA |  | 0
5 | HMP: Supply and install a 240V split phase surge protector to an A/C split unit of 12,000 BTU. | 1 | EA |  | 0
|  | Total de la Oferta para el Site #5: Aibonito RC |  |  | 0
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________

## Utuado RC (6)
Item | Descripción | Cantidad | Unidad | Costo Unitario | Costo Total | Tiempo de Entrega | Garantía
DIV.9 - FINISHES
1 | Supply in-kind 1,000 SF of acoustic ceiling tiles (4ft long x 2ft wide). This item will not be installed. Material will be delivered at Parada 3-1/2, Puerta de Tierra, San Juan. | 1000 | SF |  | 0
DIV.12 - FURNITURES
2 | Remove, dispose, supply and installation of in-kind Laminated wood conglomerate desk (6ft long x 2.5ft wide x 3ft high). | 1 | EA |  | 0
|  | Total de la Oferta para el Site #6: Utuado RC |  |  | 0
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________

## Sumatoria de los Sites
| Total de la Oferta para el Site #1, Mayaguez RC: |  | $
| Total de la Oferta para el Site #2, Vega Baja RC: |  | $
| Total de la Oferta para el Site #3, Ponce RC: |  | $
| Total de la Oferta para el Site #4, Arecibo RC: |  | $
| Total de la Oferta para el Site #5, Aibonito RC: |  | $
| Total de la Oferta para el Site #6, Utuado RC: |  | $
|  | TOTAL DE LA OFERTA | 0 | Tiempo de Entrega máximo | Garantía Mínima en Mano de Obra
|  |  |  | 180 días calendario | 1 año
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________