## TABLA
SUBASTA FORMAL: 22-2649
PARA FORMALIZAR UN CONTRATO DE SELECCIÓN MÚLTIPLE PARA LA ADQUISICIÓN, INSTALACIÓN Y DISPOSICIÓN DE EQUIPOS DOMÉSTICOS Y/O MATERIALES DE CONSTRUCCIÓN PARA EL DEPARTAMENTO DE DESARROLLO ECONÓMICO Y COMERCIO DE PUERTO RICO
TABLA DE OFERTAR
PARTIDA | DESCRIPCIÓN | UNIDAD | CANTIDAD | PRECIO UNITARIO | %LEY DE PREF. | PRECIO CON % LEY DE PREF. APLICADO | MARCA | MODELO | PROCEDENCIA | GARANTÍA | TIEMPO DE ENTREGA O SERVICIO
RENGLÓN 1 - ADQUISICIÓN, INSTALACIÓN Y DISPOSICIÓN/RECICLAJE DE EQUIPOS DOMÉSTICOS
1 | Supply, replace and install refrigerator 18cu. Ft., without ice maker, white color. As detailed in the Scope of Work. | Uno | Indeterminada
2 | Supply, replace and install refrigerator 18cu. Ft., with ice machine, white color. As detailed in the Scope of Work. | Uno | Indeterminada
3 | Supply, replace and install refrigerator 21cu. Ft., without ice maker, white color. As detailed in the Scope of Work. | Uno | Indeterminada
4 | Supply, replace and install refrigerator 21cu. Ft., with ice machine, white color. As detailed in the Scope of Work. | Uno | Indeterminada
5 | Disposal/recycling of replaced equipment, as detailed in the Scope of Work. | Uno | Indeterminada
6 | Supply, replace and install air conditioner 8KBTU/hr., window/wall. As detailed in the Scope of Work. | Uno | Indeterminada
7 | Supply, replace and install air conditioner 10KBTU/hr., window/wall. As detailed in the Scope of Work. | Uno | Indeterminada
8 | Supply, replace and install air conditioner 12KBTU/hr., window/wall. As detailed in the Scope of Work. | Uno | Indeterminada
9 | Supply, replace and install air conditioner 12KBTU inverter, mini split. As detailed in the Scope of Work. | Uno | Indeterminada
10 | Disposal/recycling of replaced equipment, as detailed in the Scope of Work. | Uno | Indeterminada
11 | Supply, replace and install 80 gallon solar water heater. As detailed in the Scope of Work. | Uno | Indeterminada
12 | Supply, replace and install 120 gallons solar water heater. As detailed in the Scope of Work. | Uno | Indeterminada
13 | Disposal/recycling of replaced equipment, as detailed in the Scope of Work. | Uno | Indeterminada
RENGLÓN 2 - MATERIALES
1 | Energy star LED 9W + installation. | Uno | Indeterminada
2 | Energy star LED 13.5W + installation. | Uno | Indeterminada
3 | Energy star LED A-shape 9W + installation. | Uno | Indeterminada
4 | Energy star LED A-shape 13.5W + installation. | Uno | Indeterminada
5 | Energy star LED globe 9W + installation. | Uno | Indeterminada
6 | Energy star LED candle 2-4W + installation. | Uno | Indeterminada
7 | Energy star LED candle 5-6W + installation. | Uno | Indeterminada
8 | Energy star LED R30 9W weatherproof + installation. | Uno | Indeterminada
9 | Energy star LED R40 17W weatherproof + installation. | Uno | Indeterminada
10 | Receptacle duplex 15A 125V with plastic cover. | Uno | Indeterminada
11 | Receptacle duplex 20A 125V with plastic cover. | Uno | Indeterminada
12 | Receptacle sigle 20A 250V with plastic cover. | Uno | Indeterminada
13 | GFCI duplex receptacle 15A 125V with plastic cover. | Uno | Indeterminada
14 | Single switch 15A 125V with cover plastic plate quiet type. | Uno | Indeterminada
15 | Double pole iluminated 30A/250V switch W/cover (supply and installation of device, not circuit installation). | Uno | Indeterminada
16 | Double switch 15A 125W with cover plastic quiet type. | Uno | Indeterminada
17 | Combination single switch & receptacle 15A/125V W/cover. | Uno | Indeterminada
18 | Duplex receptacle, single switch or bling plastic cover plate. | Uno | Indeterminada
19 | 2x4 Industrial type galvanized cover plate for switch of recept. | Uno | Indeterminada
20 | 4x4 Industrial type galvanized cover plate for switch of recept. One or two gangs. | Uno | Indeterminada
21 | 4x4 Plastic cover plate 2 gangs. | Uno | Indeterminada
22 | 2x4 weatherproof metal cover plate for duplex receptacle. | Uno | Indeterminada
23 | 2x4 weatherproof metal cover plate for ground fault recept. | Uno | Indeterminada
24 | Universal in-use weather box and cover equal or similar to cooper #TP7488. | Uno | Indeterminada
25 | Blank cover 4"x4" metal. | Uno | Indeterminada
26 | Blank cover round metal. | Uno | Indeterminada
27 | Blank cover 2"x2" weather proof. | Uno | Indeterminada
28 | Wire thhn 12 awg stranded copper. | Uno | Indeterminada
29 | Wire thhn 10 stranded copper. | Uno | Indeterminada
30 | Wire thhn 8 stranded copper. | Uno | Indeterminada
31 | Wire thhn 6 stranded copper. | Uno | Indeterminada
32 | Uf type cable 12/2 W/groung. | Uno | Indeterminada
33 | Uf type cable 12/3 W/groung. | Uno | Indeterminada
34 | ½" Uf male connector. | Uno | Indeterminada
35 | Uf cable straps. | Uno | Indeterminada
36 | Plug armored 15A 125V w/g h/duty. | Uno | Indeterminada
37 | Plug armored 20A 250V w/g. | Uno | Indeterminada
38 | 6/32" and 8/32" x 2-½" bolts for electrical boxes. | Uno | Indeterminada
39 | Wire connectors for #12 cables. | Uno | Indeterminada
40 | Attach hanging lampholders and other exisiting fixtures EA. | Uno | Indeterminada
41 | GE or C.hammer circuit breaker 2 1 pole/20 or 30 a plug-in type. | Uno | Indeterminada
42 | GE or c.hammer circuit breaker 2 pole/20 30 or 40A plug-in type. | Uno | Indeterminada
43 | Zinco circuit breaker 1pole/20 or 30 a plug - in type. | Uno | Indeterminada
44 | Zinco circuit breaker 2pole/20 or 30 a plug - in type. | Uno | Indeterminada
45 | Light bulb porcelain socket. | Uno | Indeterminada
46 | Light bulb porcelain socket with pull chain type. | Uno | Indeterminada
47 | Weatherproof single socket + round cover equal or similar togreenfield #PHPS. | Uno | Indeterminada
48 | Ditto but doble, #KF3RW. | Uno | Indeterminada
49 | Photocontrol equal or similar to greenfield #DPPS for items #45 and #46. | Uno | Indeterminada
50 | ½" 6fts Non-metallic surface raceway equal or similar to mono-system #RTR30060. | Uno | Indeterminada
51 | ¾" 6fts Non-metallic surfac raceway equal or similar to panduit #PD31W6A. | Uno | Indeterminada
52 | External elbow for mono-system #RTR30060. | Uno | Indeterminada
53 | External elbows for panduit #PD31W6A. | Uno | Indeterminada
54 | Cuplings for mono-system #RTR30060 and panduit #PD31WA6. | Uno | Indeterminada
55 | Internal elbows for panduit #PD31W6A. | Uno | Indeterminada
56 | Internal elbows for mono-system #RTR30060. | Uno | Indeterminada
57 | Flat elbow for mono-system #RTR30060 and panduit #PD31WA6. | Uno | Indeterminada
58 | Non-metallic surface box 2" x 4" (1" deep-low profile) for raceway. | Uno | Indeterminada
59 | Non-metallic surface box 2" x 4" (1.8" deep) for raceway. | Uno | Indeterminada
60 | Non-metallic surface round for raceway. | Uno | Indeterminada
61 | Galvanized box 4" x 4½" & ¾" KOS | Uno | Indeterminada
62 | Raised cover 4" x 4" x 1 gangs. | Uno | Indeterminada
63 | Raised cover 4" x 4" x 2 gangs. | Uno | Indeterminada
64 | Galvanized box 2" x 4½" KOS. | Uno | Indeterminada
65 | Octagonal galvanized box ½" & ¾" KOS. | Uno | Indeterminada
66 | 2x4 wetherproof box ¾" KOS. | Uno | Indeterminada
67 | 4x4 wetherproof box ¾" KOS. | Uno | Indeterminada
68 | Round wetherproof box ¾" KOS. | Uno | Indeterminada
69 | Reducing bushing ¾" KOS @ ½". | Uno | Indeterminada
70 | Blank cover 4"x4" or round galvanized. | Uno | Indeterminada
71 | EMT conduit ½": Materials & labor (exposed installation). | Lf | Indeterminada
72 | PVC conduit ½" SCH. 40: materials & labor (exposed installation). | Lf | Indeterminada
73 | EMT conduit ¾": Materials & labor (exposed installation). | Lf | Indeterminada
74 | PVC conduit ¾" SCH. 40: materials & labor (exposed installation). | Lf | Indeterminada
75 | ½" flexible metallic conduit (greenfield). | Lf | Indeterminada
76 | ½" carlon or similar flexible non metallic conduit. | Lf | Indeterminada
77 | ½" carlon or similar flexible non metallic conduit (embedded instalation). | Lf | Indeterminada
78 | ½" Rigid Lb. type condulet with cover and gasket. | Uno | Indeterminada
79 | ¾" Rigid Lb. type condulet with cover and gasket. | Uno | Indeterminada
80 | ½" PVC Lb. type condulet. | Uno | Indeterminada
81 | ¾" PVC Lb. type condulet. | Uno | Indeterminada
82 | ½" EMT fittings (coupling, male connector). | Uno | Indeterminada
83 | PVC fittings (couplings, male adapters). | Uno | Indeterminada
84 | Rigid opoen strap (½" or ¾" + fastening). | Uno | Indeterminada
85 | Wire holder heavy duty. | Uno | Indeterminada
86 | Sealing around wall or window A/C unit (may require treated wood panel installation and/or metal lath and plaster) (see attachment 2) | Uno | Indeterminada
87 | White miami metal window 2'x2'. | Uno | Indeterminada
88 | White miami metal window 2'x3'. | Uno | Indeterminada
89 | White miami metal window 2'x4'. | Uno | Indeterminada
90 | White miami metal window 2'x5'. | Uno | Indeterminada
91 | White miami metal window 2½'x3'. | Uno | Indeterminada
92 | White miami metal window 2½'x4'. | Uno | Indeterminada
93 | White miami metal window 2½'x5'. | Uno | Indeterminada
94 | White miami metal window 3'x3'. | Uno | Indeterminada
95 | White miami metal window 3'x4'. | Uno | Indeterminada
96 | White miami metal window 3'x5'. | Uno | Indeterminada
97 | Interior wood door-semi solid-baboom 24"x84". | Uno | Indeterminada
98 | Interior wood door-semi solid-baboom 28"x84". | Uno | Indeterminada
99 | Interior wood door-semi solid-baboom 30"x84". | Uno | Indeterminada
100 | Interior wood door-semi solid-baboom 32"x84". | Uno | Indeterminada
101 | Interior wood door-semi solid-baboom 36"x84". | Uno | Indeterminada
102 | Interior wood door frame 2"x4"x7". | Uno | Indeterminada
103 | Interior wood door frame 2"x4"x8". | Uno | Indeterminada
104 | Door weatherstrips. | Uno | Indeterminada
105 | Kitchen cabinet adjustment to fit refrigerator replacement. | Uno | Indeterminada
106 | Dryer vent cleaning. | Uno | Indeterminada
107 | Vent pipe rigid sheet metal duct (not corrugated). | Uno | Indeterminada
108 | Vent kit (gtravity louvers & adapter). | Uno | Indeterminada
109 | Duct accessories. | Uno | Indeterminada
110 | Vent duct wall perforation. | Uno | Indeterminada
111 | Gas copper line. | Uno | Indeterminada
112 | Gas regulator. | Uno | Indeterminada
113 | 1.5 to 2.0 GPM showerhead equal/similar to delta model #75153. | Uno | Indeterminada
114 | Showerhead extension pipe or nipple (8" - 10"). | Uno | Indeterminada
115 | 1.5 to GPM handherld shower equal/similar to waterrpik ecofliow model #ECO-563. | Uno | Indeterminada
116 | Faucet aerator. | Uno | Indeterminada
117 | Thermal insulation for ½" refrigerant copper line. | Uno | Indeterminada
118 | Bathroom lavatory mixer faucent equal or similar to glacier bay #67090-5001. | Uno | Indeterminada
119 | Kitchen sink mixer faucent equal or similar to glacier bay #67099-0001. | Uno | Indeterminada
120 | Bath faucet mixer. | Uno | Indeterminada
121 | Faucent fittings kit. | Lf. | Indeterminada
122 | Mixer knobs equal or similar to price PFSTER #80457. | Pair | Indeterminada
123 | Rubber 0" rings reemplacement. | Set/FAU cet | Indeterminada
124 | Bath tub diverter (spout) equal or similar to amarican standar #8888.025.002. | Uno | Indeterminada
125 | Miami window an operators andjusment (instalación de remaches en hoja de ventanas sueltas o no operables). | Uno | Indeterminada
126 | Miami window an operators | Uno | Indeterminada
127 | Test for lead paint, according to EPA renovator rule. | Uno | Indeterminada
128 | Carbon monoxide alarm | Uno | Indeterminada
⦁ All base prices in the table include material supply and labor/installation costs.
⦁ All items in table shall de supplied and installed by Contractor, including led lamps.
⦁ Base unit price established in table are subject to Contractor's, factor.
⦁ General contractor base cost: a) General contractor base costs are fixed costs established by the program and not subject to the contractor factor adjustments, and b) Base cost is applicable to one cost per household of two hundred and fifty dollars ($250.00).