## Tabla de cotizar
TABLA DE OFERTAR
SUBASTA FORMAL NÚMERO 23J-00124
PARA ADQUIRIR EL SERVICIO DE REMOCIÓN Y REEMPLAZOS DE ABANICOS Y EQUIPOS MECÁNICOS DEL TECHO DE LA SALA SINFÓNICA
DE LA CORPORACIÓN DEL CENTRO DE BELLAS ARTES
Partida | Descripción | Precio | Total | Marca | Procedencia | Garantía | Tiempo de Entrega | Ley % Preferencia (Si aplica)
ADQUISICIÓN E INSTALACIÓN DE ABANICOS
1 | 27/CFM 5670/SP .5/FPM 1375//RPM 668/HP 1/RPM 1725/VOLT 460-3-60/ALUMINUM CONSTRUCTION-UL 705 LISTED-HIGH WIND & SIESMIC RESISTANCE-CONCRETE PAD
2 | 12/CFM 450/SP .25/FPM 561//RPM 821/HP .25/RPM 1725/VOLT 115-1-60/ALUMINUM CONSTRUCTION-UL 705 LISTED-HIGH WIND & SIESMIC RESISTANCE-CONCRETE PAD
3 | 30/CFM 7600/SP .625/FPM 1470//RPM 580/HP 1.5/RPM 1170/VOLT 460-360/ALUMINUM CONSTRUCTION-UL 705 LISTED-HIGH WIND & SIESMIC RESISTANCE-CONCRETE PAD
4 | 30/CFM 7600/SP .625/FPM 1470//RPM 580/HP 1.5/RPM 1170/VOLT 460-360/ALUMINUM CONSTRUCTION-UL 705 LISTED-HIGH WIND & SIESMIC RESISTANCE-CONCRETE PAD
5 | 30/CFM 8000/SP .5/FPM 1547//RPM 1170/HP 1.5/RPM 1170/VOLT 460-360/ALUMINUM CONSTRUCTION-UL 705 LISTED-HIGH WIND & SIESMIC RESISTANCE-CONCRETE PAD - BACKDRAF DAMPER
6 | 30/CFM 8000/SP .5/FPM 1547//RPM 1170/HP 1.5/RPM 1170/VOLT 460-360/ALUMINUM CONSTRUCTION-UL 705 LISTED-HIGH WIND & SIESMIC RESISTANCE-CONCRETE PAD - BACKDRAF DAMPER
DUCT WORKS
7 | DUCT 52 IN X 52 IN
8 | DUCT 14 IN X 8 IN
9 | DUCT 40 IN X 40 IN
10 | DUCT 20 IN X 16 IN
11 | DUCT 38 IN X 24IN
SOUND ATTENUATOR
12 | TYPE LINEAR/SIZE 38' 'X 24 /FLOW 7600 CFM/PRESSURE DROP .07 IWG/VELOCITY -500 FPM
13 | TYPE LINEAR/SIZE 40'' X 40 /FLOW 7600 CFM/PRESSURE DROP .07 IWG/VELOCITY -500 FPM
14 | TYPE LINEAR/SIZE 52''X 52 /FLOW 8000 CFM/PRESSURE DROP .07 IWG/VELOCITY -500 FPM
15 | TYPE LINEAR/SIZE 20''X16 /FLOW 5700 CFM/PRESSURE DROP .07 IWG/VELOCITY -500 FPM/
16 | TYPE LINEAR/SIZE 14''X8 /FLOW 500 CFM/PRESSURE DROP .07 IWG/VELOCITY -500 FPM
0