## Sheet1
Item | Descripción | Cantidad | Unidad | Costo Unitario Material | Costo Unitario Labor | Costo Unitario Total | Costo Total de la partida | Ley de Preferencia % (cuando aplique) | MARCA | MODELO | Tiempo de Entrega | Garantía
DIV. 1 - GENERAL REQUIREMENTS
1 | Project Manager (Architect/Engineer) | 3 | MO | N/A | N/A |  | 0
2 | Superintendent | 7 | MO | N/A | N/A |  | 0
3 | General Liability | 1 | LS | N/A | N/A |  | 0
4 | Auto Liability | 1 | LS | N/A | N/A |  | 0
5 | Builder's Risk | 1 | LS | N/A | N/A |  | 0
6 | Coverage of Terrorism | 1 | LS | N/A | N/A |  | 0
7 | Mobilization | 1 | LS | N/A | N/A |  | 0
8 | Submittal Procedures | 1 | LS | N/A | N/A |  | 0
9 | Construction Progress Schedule | 9 | MO | N/A | N/A |  | 0
10 | Demobilization | 1 | LS | N/A | N/A |  | 0
DIV.2- SITE CONSTRUCTION
11 | Remove, discard, supply and installation of Chain Link Perimeter Fence (120 FT long x 6 FT high) | 720 | SF |  |  | 0 | 0
12 | HMP: Chain Link Perimeter Fence (120 FT long x 6 FT high) - The supply and installation of additional line posts to reduce the typical spacing between line posts from 10 feet to 8 feet, bury the posts at 3 ft deep instead of 2 ft deep, change the dimensions of the posts from 2-inch diameter to 3-inch diameter. | 720 | SF |  |  | 0 | 0
13 | Remove, discard, supply and installation of Chain Link Fence Gate (20 FT long x 8 FT high) | 160 | SF |  |  | 0 | 0
14 | HMP: Chain Link Fence Gate (20 FT long x 8 FT high) - The supply and installation of additional line posts to reduce the typical spacing between line posts from 10 feet to 8 feet, bury the posts at 3 ft deep instead of 2 ft deep, change the dimensions of the posts from 2-inch diameter to 3-inch diameter. | 160 | SF |  |  | 0 | 0
15 | Remove, supply, discard and installation of Aggregate Base Course (575 SF x 4 IN) | 5.43 | CM |  |  | 0 | 0
16 | HMP: Supply and installation of Geotextile under aggregate base course | 575 | SF |  |  | 0 | 0
17 | Remove, discard, supply and installation of Bituminous Pavement Mix S-1 (575 SF x 2 IN) | 6.08 | TON |  |  | 0 | 0
18 | Remove, discard, supply and installation of Earth Type Swale (170 FT long x 4 FT wide) | 680 | SF |  |  | 0 | 0
DIV.5- METALS
19 | Remove, discard, supply and installation of Sheet Metal Roofing (33 FT long x 20 FT wide) | 660 | SF |  |  | 0 | 0
20 | HMP: Supply and installation of Additional anchoring screws to sheet metal roofing (33 FT long x 20 FT wide) to improve the fastening patterns and uplift resistance | 660 | SF |  |  | 0 | 0
21 | Remove, discard, supply and installation of 12 FT Roof Structural Frame Square Tubing (4 IN x 4 IN x 3/8 IN) | 8 | EA |  |  | 0 | 0
22 | Remove, discard, supply and installation of Steel Beam C2 x 1.78 Channel | 320 | LF |  |  | 0 | 0
DIV.8 - DOORS & WINDOWS
23 | Remove, discard, supply and installation of Aluminum Jalousie Window Weatherstrip | 106 | LF |  |  | 0 | 0
24 | Remove, discard, supply and installation of Metal Type Rolling Door (16.5 FT wide x 16.5 FT high) | 1 | EA |  |  | 0 | 0
25 | HMP: Supply and installation to reduce gauge of Metal Type Rolling Door (16.5 FT wide x 16.5 FT high) from 20 to 18 gauge | 1 | EA |  |  | 0 | 0
26 | Remove, discard, supply and installation of Single Hung Standard Glazed Glass Window (3 FT x 3 FT) | 3 | EA |  |  | 0 | 0
DIV.9 - FINISHES
27 | Remove, discard, supply and installation of Gypsum Wall | 192 | SF |  |  | 0 | 0
28 | HMP: Supply and Replace of Gypsum Wallboard with Water Resistance Gypsum | 192 | SF |  |  | 0 | 0
29 | Remove, discard, supply and installation of 6 in. Rubber Resilient Baseboard | 555 | LF |  |  | 0 | 0
30 | Remove, discard, supply and installation of Acoustical Ceilings (4ft long x 2 ft wide) | 2860 | SF |  |  | 0 | 0
31 | HMP: Supply and Replace of Acoustical Ceilings with Water Resistance Units (4 FT long x 2 FT wide) | 2860 | SF |  |  | 0 | 0
32 | Remove, discard, supply and installation of Wood Pine 1in x 6in Wall Base | 90 | LF |  |  | 0 | 0
33 | Remove, discard, supply and installation of Vinyl Type Floor Tiles (12in x 12in) | 2217 | SF |  |  | 0 | 0
34 | HMP: Supply and replace of regular adhesive with waterproof version for Vinyl Type Floor Tiles (12in x 12in) | 2217 | SF |  |  | 0 | 0
35 | Prepare, supply and paint wall | 15057 | SF |  |  | 0 | 0
36 | HMP: Supply and install of Secondary Primer Layer to Wall Paint | 15057 | SF |  |  | 0 | 0
37 | Preparation, supply and paint of Aluminum Jalousie Window | 1707 | SF |  |  | 0 | 0
DIV.12 - FURNISHINGS
38 | Remove, discard, supply and installation of Vertical 3in Strip Blinds | 88 | SF |  |  |  | 0
DIV.15 - MECHANICAL WORKS
39 | Remove, discard, supply and installation of 700gal Plastic Potable Water Tank | 1 | EA |  |  | 0 | 0
40 | Remove, discard, supply and installation of Cistern with storage capacity tank 600 GA; Cistern Pump: 1 HP, 115/230 V, 60 Hz (similar or equal to Model C48B03B07 - GRD A.C. Smith Corp) | 1 | EA |  |  | 0 | 0
41 | Remove, discard, supply and installation of Hydro-pneumatic Tank | 1 | EA |  |  | 0 | 0
42 | Remove, discard, supply and installation of Mini Split 36,000 BTU/CMB-361 | 1 | EA |  |  | 0 | 0
43 | HMP: Supply and installation of Anchoring system for Mini Split 36,000 BTU | 1 | EA |  |  | 0 | 0
44 | Remove, discard, supply and installation of Central Cooling Air Conditioner (similra or equal to Trane Model #4TCC3036A1000AB) | 1 | EA |  |  | 0 | 0
45 | HMP: Supply and installation of Anchoring system for Central Cooling Air Conditioner | 1 | EA |  |  | 0 | 0
46 | Remove, discard, supply and installation of Mini Split AC Unit Capacity 24,000 BTU | 1 | EA |  |  | 0 | 0
47 | HMP: Supply and installation of Anchoring system for Mini Split AC Unit - Capacity 24,000 BTU | 1 | EA |  |  | 0 | 0
48 | Remove, discard, supply and installation of A/C Unit Window Type 18,000 BTU, (similar or equal to GE Model ACV18DCG1) | 1 | EA |  |  | 0 | 0
49 | HMP: Supply and installation of Anchor A/C Unit of 18,000 BTU to non-corrosive hurricane metal wall bracket | 1 | EA |  |  | 0 | 0
50 | Remove, discard, supply and installation of Mini Split AC Unit 36,000 BTU (similar or equal to Model Trane XL 14i 2TTX4030B1000AA) | 1 | EA |  |  | 0 | 0
51 | HMP: Supply and installation of roof top anchoring system for Mini Split AC Unit 36,000 BTU | 1 | EA |  |  | 0 | 0
52 | Remove, discard, supply and installation of Stainless Steel Exhaust Fan with Disconnect Switch | 1 | EA |  |  | 0 | 0
Indicar marca y modelo del switch en esta línea
53 | HMP: Supply and installation of Anchoring system for Stainless Steel Exhaust Fan with Disconnect Switch | 1 | EA |  |  | 0 | 0
54 | Remove, discard, supply and installation of Exhaust Fan (similar or equal to Loren Cook Company Model 165R5B) | 1 | EA |  |  | 0 | 0
55 | HMP: Supply and installation of Anchoring system for Exhaust Fan | 1 | EA |  |  | 0 | 0
56 | Remove, discard, supply and installation of Exhaust Fan (similar or equal to Marathon Electric Fan Model 6VF48S17D1216E) | 1 | EA |  |  | 0 | 0
57 | HMP: Supply and installation of Anchoring system for Exhaust Fan | 1 | EA |  |  | 0 | 0
58 | Remove, discard, supply and installation of Exhaust Fan (similar or equal to Power Line Model 122DEE7A) | 1 | EA |  |  | 0 | 0
59 | HMP: Supply and installation of Anchoring system for Exhaust Fan | 1 | EA |  |  | 0 | 0
60 | Remove, discard, supply and installation of Mini Split 36,000 BTU A/C Evaporator Unit | 1 | EA |  |  | 0 | 0
61 | HMP: Supply and installation of Anchoring system for Mini Split 36,000 BTU A/C Evaporator Unit | 1 | EA |  |  | 0 | 0
DIV.16 - ELECTRICAL WORK
62 | Remove, discard, supply and installation of Fluorescent Lighting Fixtures (4ft long x 2ft wide) | 39 | EA |  |  | 0 | 0
63 | Remove, discard, supply and installation of 3/4in EMT Conduit Electrical Pipe | 645 | LF |  |  | 0 | 0
64 | Remove, discard, supply and installation of #12 THHN Electrical Wire | 1935 | LF |  |  | 0 | 0
65 | Remove, discard, supply and installation of 4in x 1-1/2in Octagonal Electrical Box and Cover | 43 | EA |  |  | 0 | 0
66 | Remove, discard, supply and installation of 20A-125V Duplex Receptacle | 24 | EA |  |  | 0 | 0
67 | Remove, discard, supply and installation of 1/2in Flexible Metal Electrical Conduit | 282 | LF |  |  | 0 | 0
68 | Remove, discard, supply and installation of Communication Cabinet (35in depth x 24in wide x 76in high) | 1 | EA |  |  | 0 | 0
69 | Remove, discard, supply and installation of High Pressure Sodium, 70 HPS Exterior Fixtures Canopy Lights (1ft long x 1ft wide) | 4 | EA |  |  | 0 | 0
70 | Remove, discard, supply and installation of 100 Amps 120/208V - 12 poles Panelboard #1 (L-P-A) | 1 | EA |  |  | 0 | 0
71 | Remove, discard, supply and installation of 100 Amps 120/208V - 18 poles Panelboard #2 (L-P-E-A) | 1 | EA |  |  | 0 | 0
72 | Remove, discard, supply and installation of 100 Amps 120/208V - 22 poles Panelboard #3 (A-P-A) | 1 | EA |  |  | 0 | 0
OTHER COSTS
73 | State Workmen Compensation | 1 | LS |  |  | 0 | 0
74 | Payroll Tax (Incap + Dis) | 1 | LS |  |  | 0 | 0
75 | Soc Sec | 1 | LS |  |  | 0 | 0
76 | Overhead | 1 | LS |  |  | 0 | 0
77 | Profit | 1 | LS |  |  | 0 | 0
78 | Bonds | 1 | LS |  |  | 0 | 0
79 | Taxes | 1 | LS |  |  | 0 | 0
[9 empty] | Tiempo de Entrega máximo | Tiempo de Entrega ofertado | Garantía en Mano de Obra mínima | Garantía en Mano de Obra ofertada
|  | Total de la Oferta |  |  |  |  | 0 |  | 270 días calendario |  | 1 año
Nombre del Licitador: ___________________________________________________________________________________ Fecha: _______________________________________
Nombre del Representante Autorizado del Licitador:__________________________________________________________________
Firma del Representante Autorizado del Licitador:_____________________________________________________________________
GARANTIAS MINIMAS
a) Sistemas mini-split: Compresor 5 años
b) Exhaust Fan: 1 año
c) Central Cooling Air Conditioner: Compresor 5 años