## Table 1
TABLA DE OFERTAR ENMENDADA I SUBASTA FORMAL 23J-15878
PARA LA ADQUISICIÓN E INSTALACIÓN DE EQUIPO LED EN LOS ESCENARIOS DE LOS TEATROS FRANCISCO ARRIVÍ Y VICTORIA ESPINOSA, ADSCRITOS AL INSTITUTO DE CULTURA PUERTORRIQUEÑA DEL GOBIERNO DE PUERTO RICO
PARTIDA | DESCRIPCIÓN | UNIDAD | CANTIDAD | PRECIO UNITARIO | TOTAL | % DE PREFERENCIA | GARANTÍA
1 | Foco modelo ETC CSSPOTVMVS ColorSource Spot V ETL with Shutter Barrel with Multiverse - Black Features: Five-color array (red, green, blue, indigo, and lime) Simple user interface with seven-segment display powerCON® TRUE1® TOP connector DMX/RDM in and thru (5-pin XLR) Multiverse wireless DMX/RDM NFC (near field communication) configuration LED droop compensation Optically calibrated Tour-ready, aluminum housing Combine with available adapters to transform your fixture into a fully functional Fresnel/CYC | EA | 54 |  | 0
2 | Accesorio ETC T1PJ-10 TRUE1 female to TRUE1 male fixture power jumper, UL rated, 10 ft/3 m | EA | 54 |  | 0
3 | Accesorio ETC 400CC C-Clamp | EA | 54 |  | 0
4 | Accesorio ETC 400CF Media/gel frame, 6.25 in / 159 mm, black | EA | 54 |  | 0
5 | Accesorio TLS SCB Safety Cable 30 Black | EA | 54 |  | 0
6 | Accesorio ETC 419EDLT 19º EDLT Lens tube with lens installed, Black | EA | 14 |  | 0
7 | Accesorio ETC 426EDLT 26º EDLT Lens tube with lens installed, Black | EA | 20 |  | 0
8 | Accesorio ETC 436EDLT 36º EDLT Lens tube with lens installed, Black | EA | 16 |  | 0
9 | Accesorio : ETC LED50LT 50° LED-specific EDLT lens tube, black | EA | 4 |  | 0
10 | Foco modelo ETC CSFRESVMV Features: Five-color array (red, green, blue, indigo, and lime) Simple user interface with seven-segment display powerCON® TRUE1® TOP connector Motorized 13-44º zoom DMX/RDM in and thru (5-pin XLR) Multiverse wireless DMX/RDM NFC (near field communication) configuration LED droop compensation Optically calibrated Tour-ready, aluminum housing | EA | 30 |  | 0
11 | Accesorio ETC 400BD Barn door, 4-leaf with extension ring, 7.5 in / 190 mm, black | EA | 30 |  | 0
12 | Accesorio ETC T1PJ-10 TRUE1 female to TRUE1 male fixture power jumper, UL rated, 10 ft/3 m | EA | 30 |  | 0
13 | Accesorio TLS MAB Mega Clamp Black | EA | 30 |  | 0
14 | Accesorio TLS SCB Safety Cable 30 Black | EA | 30 |  | 0
15 | Foco ColorSource PAR Deep Blue, XLR, black Features: ColorSource Original/Deep Blue arrays (Red/Green/Blue/Lime) or Pearl (Warm white/cool white). Simple user interface with seven-segment display powerCON™ in and thru DMX/RDM in and thru (5-pin XLR) LED droop compensation Optically calibrated Tour-ready, aluminum housing | EA | 12 |  | 0
16 | Accesorio ETC DPJ-10 powerCON female to powerCON male fixture power jumper, 10 ft/3.0 m | EA | 12 |  | 0
17 | Accesorio TLS MAB Mega Clamp Black | EA | 12 |  | 0
18 | Accesorio TLS SCB Safety Cable 30 Black | EA | 12 |  | 0
19 | Accesorio ETC SELLN-7.5 D40/CSPAR Narrow Linear Diffuser | EA | 12 |  | 0
20 | Accesorio ETC SELLW-7.5 D40/CSPAR Wide Linear Diffuser | EA | 12 |  | 0
21 | Foco modelo ETC CSCYC CS CYC XLR LED ETL FIXT (BLK) Features: All LED (RGBI-L) Rich, bright light Fanless operation DMX in and thru (5-pin XLR) Stand-alone presets and sequences Simple setup and user interfacee | EA | 16 |  | 0
22 | Accesorio ETC DPJ-10 powerCON female to powerCON male fixture power jumper, 10 ft/3.0 m | EA | 16 |  | 0
23 | Accesorio TLS MAB Mega Clamp Black | EA | 16 |  | 0
24 | Accesorio TLS SCB Safety Cable 30 Black | EA | 16 |  | 0
25 | Foco movible ETC 2550A1200-B Lonestar, Ultra-Bright, boxed in molded insert, black Features • Bright white LED engine • 290 W Ultra-Bright engine • Fixture output 15,400 lumens • High quality 13-lens optic system • Extremely powerful 3.8°–55° zoom • CMY color mixing system • Electronic linear CCT mixing control • Ten position plus open color wheel • Full-curtain framing system for total control of beam shaping • 16-blade iris for extremely tight beam effects Two diffusion Light and Medium system with additional, optional heavy diffusion • Nine position plus open Rotating Gobo Wheel • Dual prisms for compound beam and projection effects • Linearly insertable rotating animation wheel | EA | 10 |  | 0
26 | Accesorio ETC 2550K1001 Road Case, Lonestar, fits up to three fixtures | EA | 4 |  | 0
27 | Accesorio TLS MAB Mega Clamp Black | EA | 20 |  | 0
28 | Accesorio TLS SCB Safety Cable 30 Black | EA | 10 |  | 0
29 | Accesorio ProX XC-5PDMX10 010ft 5PIN DMX CABLE (High Performance) | EA | 54 |  | 0
30 | Accesorio ProX XC-5PDMX25 25ft 5PIN DMX CABLE (High Performance) | EA | 54 |  | 0
31 | Accesorio ProX XC-5PDMX50 50ft 5PIN DMX CABLE (High Performance) | EA | 36 |  | 0
32 | Accesorio ETC 400RS Drop-in Iris | EA | 12 |  | 0
33 | Accesorio ETC 400PH-B Pattern holder (B size) | EA | 15 |  | 0
34 | Accesorio ETC 400PH-G Pattern holder, glass, B size | EA | 12 |  | 0
35 | Perseguidor modelo Lyci 1280 Superstar 600 LED Follow Spot FEATURES 600 WATT LED •Internal Electronic FlickerFree Power Supply ●Trombone for Variable Focal Optics •Ultra-smooth mechanical dimmer ●Fine Focus to Soften & Harden Edge ●Includes 3 Legged Base with Casters & Leveling Jacks ●Internal 6- Color Boomerang •Quiet Fan Cooling •Beam Angle: 7°-15 | EA | 2 |  | 0
36 | Maquina de haze: Elat MSP001 MAGMA PRIME water-based hazer with advanced technology | EA | 2 |  | 0
37 | Elat AEF-4L Extreme Filtrated Fog Fluid Size: 4-liter | EA | 24 |  | 0
38 | Dimmer Upgrade and Relay Conversion - ETC 7140A1003 CEM3 - CEM3 Control Module Upgrade ETC 7141K1005 PWRPKG CLAS SR48 - Power Package upgrade kit for SR48 racks with CEM Classic processor: Hardware to consist of: CEM3 backplane, rack fan, door foam, air filters, and one power cube Services to consist of: rack cleaning, installation of hardware, CEM3 programming, CEM3 training | EA | 1 |  | 0
39 | ETC 7083A1185 R20 - Dual 20A Relay module | EA | 24 |  | 0
40 | Neut NAC3MX-W-TOP powerCON TRUE1 MALE-IN Product | EA | 72 |  | 0
41 | Lighting Product Netowrk RACK - Black 19" rack | EA | 1 |  | 0
42 | Lighting Console ETC 4450A1401-US APEX 5 US - APEX 5 US - Apex 5 24K Console with 24,576 Outputs/Parameters, ships with: 1 - 3-button scroll mouse 1 - External keyboard (in drawer) 1 - Locking regionalized IEC power cord 1 - M7672 Littlite LED console work light 1 - Apex 5 dust cover 1 - Augment3d AR target kit | EA | 1 |  | 0
43 | ETC EOS FW 40 4240A1024-US Eos Fader Wing, 40 Fader | EA | 1 |  | 0
44 | ETC ETCPAD 4250A1222 ETCpad wired/wireless tablet | EA | 1 |  | 0
45 | WBOX 0E-RCKMT2200 Battery Back Up 2,000VA / 1540W Line Interactive, Uninterruptable Power Supply (UPS) | EA | 1 |  | 0
46 | Lighting Product House Light Control Package including: 1 x Rack 2 x touchscren station 2 x entrance stations 1 x UPS | EA | 1 |  | 0
47 | ETC SELLM-7.5 D40/CSPAR Medium Linear Diffuser | EA | 1 |  | 0
TEATRO VICTORIA ESPINOSA
48 | Foco modelo ETC CSSPOTVMVS ColorSource Spot V ETL with Shutter Barrel with Multiverse - Black Features: Five-color array (red, green, blue, indigo, and lime) Simple user interface with seven-segment display powerCON® TRUE1® TOP connector DMX/RDM in and thru (5-pin XLR) Multiverse wireless DMX/RDM NFC (near field communication) configuration LED droop compensation Optically calibrated Tour-ready, aluminum housing Combine with available adapters to transform your fixture into a fully functional Fresnel or CY | EA | 40 |  | 0
49 | Accesorio ETC 419EDLT 19º EDLT Lens tube with lens installed, Black | EA | 10 |  | 0
50 | Accesorio ETC 426EDLT 26º EDLT Lens tube with lens installed, BlackETC 426EDLT 26º EDLT Lens tube with lens installed, Black | EA | 10 |  | 0
51 | Accesorio ETC 436EDLT 36º EDLT Lens tube with lens installed, Black | EA | 10 |  | 0
52 | Accesorio ETC 450EDLT 50º EDLT Lens tube with lens installed, Black | EA | 10 |  | 0
53 | Accesorio ETC T1PJ-10 TRUE1 female to TRUE1 male fixture power jumper, UL rated, 10 ft/3 m | EA | 40 |  | 0
54 | Accesorio ETC 400CC C-Clamp | EA | 40 |  | 0
55 | Accesorio ETC 400CF Media/gel frame, 6.25 in / 159 mm, black | EA | 40 |  | 0
56 | Accesorio TLS SCB Safety Cable 30 Black | EA | 40 |  | 0
57 | Foco modelo ETC CSFRESVMV Features: Five-color array (red, green, blue, indigo, and lime) Simple user interface with seven-segment display powerCON® TRUE1® TOP connector Motorized 13-44º zoom DMX/RDM in and thru (5-pin XLR) Multiverse wireless DMX/RDM NFC (near field communication) configuration LED droop compensation Optically calibrated Tour-ready, aluminum housing | EA | 24 |  | 0
58 | Accesorio ETC 400BD Barn door, 4-leaf with extension ring, 7.5 in / 190 mm, black | EA | 24 |  | 0
59 | Accesorio ETC T1PJ-10 TRUE1 female to TRUE1 male fixture power jumper, UL rated, 10 ft/3 m | EA | 24 |  | 0
60 | Accesorio TLS MAB Mega Clamp Black | EA | 24 |  | 0
61 | Foco modelo ETC CSPARDB ColorSource PAR Deep Blue, XLR, black Features: ColorSource Original/Deep Blue arrays (Red/Green/Blue/Lime) or Pearl (Warm white/cool white). Simple user interface with seven-segment display powerCON™ in and thru DMX/RDM in and thru (5-pin XLR) LED droop compensation Optically calibrated Tour-ready, aluminum housing | EA | 8 |  | 0
62 | Accesorio ETC DPJ-10 powerCON female to powerCON male fixture power jumper, 10 ft/3.0 m | EA | 8 |  | 0
63 | Accesorio TLS MAB Mega Clamp Black | EA | 8 |  | 0
64 | Accesorio TLS SCB Safety Cable 30 Black | EA | 8 |  | 0
65 | Accesorio ETC SELLN-7.5 D40/CSPAR Narrow Linear Diffuser | EA | 8 |  | 0
66 | Accesorio ETC SELLM-7.5 D40/CSPAR Medium Linear Diffuser | EA | 8 |  | 0
67 | Accesorio ETC SELLW-7.5 D40/CSPAR Wide Linear Diffuser | EA | 8 |  | 0
68 | Movibles ETC 2550A1200-B Lonestar, Ultra-Bright, boxed in molded insert, black Features • Bright white LED engine • 290 W Ultra-Bright engine • Fixture output 15,400 lumens • High quality 13-lens optic system • Extremely powerful 3.8°–55° zoom • CMY color mixing system • Electronic linear CCT mixing control • Ten position plus open color wheel • Full-curtain framing system for total control of beam shaping • 16-blade iris for extremely tight beam effects.• Two diffusion Light and Medium system with additional, optional heavy diffusion • Nine position plus open Rotating Gobo Wheel • Dual prisms for compound beam and projection effects • Linearly insertable rotating animation wheel | EA | 6 |  | 0
69 | Accesorio ETC 2550K1001 Road Case, Lonestar, fits up to three fixtures | EA | 2 |  | 0
70 | Accesorio TLS MAB Mega Clamp Black | EA | 12 |  | 0
71 | Accesorio TLS SCB Safety Cable 30 Black | EA | 6 |  | 0
72 | ProX XC-5PDMX10 010ft 5PIN DMX CABLE (High Performance) | EA | 40 |  | 0
73 | ProX XC-5PDMX25 25ft 5PIN DMX CABLE (High Performance) | EA | 40 |  | 0
74 | ProX XC-5PDMX50 50ft 5PIN DMX CABLE (High Performance) | EA | 20 |  | 0
75 | ETC 400RS Drop-in Iris | EA | 12 |  | 0
76 | ETC 400PH-B Pattern holder (B size) | EA | 15 |  | 0
77 | ETC 400PH-G Pattern holder, glass, B size | EA | 12 |  | 0
78 | Perseguidor Lyci 1280 Superstar 600 LED Follow Spot FEATURES 600 WATT LED •Internal Electronic FlickerFree Power Supply ●Trombone for Variable Focal Optics •Ultra-smooth mechanical dimmer ●Fine Focus to Soften & Harden Edge ●Includes 3 Legged Base with Casters & Leveling Jacks ●Internal 6- Color Boomerang •Quiet Fan Cooling •Beam Angle: 7°-15° | EA | 1 |  | 0
79 | Elat AEF-4L Extreme Filtrated Fog Fluid Size: 4-liter | EA | 12 |  | 0
80 | Maquina de haze: Elat MSP001 MAGMA PRIME water-based hazer with advanced technology | EA | 1 |  | 0
81 | Dimmer Upgrade and Relay Conversion ETC 7140A1003 CEM3 - CEM3 Control Module *ETC 7141K1005 PWRPKG CLAS SR48 - Power Package upgrade kit for SR48 racks with CEM Classic processor: Hardware to consist of: CEM3 backplane, rack fan, door foam, air filters, and one power cube Services to consist of: rack cleaning, installation of hardware, CEM3 programming, CEM3 training | EA | 1 |  | 0
82 | ETC 7083A1185 R20 - Dual 20A Relay module | EA | 24 |  | 0
83 | Neut NAC3MX-W-TOP powerCON TRUE1 MALE-IN Product | EA | 48 |  | 0
84 | Network: Lighting Product Netowrk RACK - Black 19" rack Lighting Product CISCO SG350-28P - Cisco Switch - 24 RJ-45 ports of 10/100/1000 PoE+ (195W total allowance) - 2 combo ports of RJ-45 or mini-GBIC/SFP - 2 ports of mini-GBIC/SFP *ETC RSN-DMX2-O-P-4 4268A1100-4 Response Mk2 2-port Portable Gateway, XLR Output, Black *ETC RSN-DMX2-O-P-4 4268A1100-4 Response Mk2 2-port Portable Gateway, XLR Output, Black | EA | 1 |  | 0
85 | Lighting Console ETC ION XE 20 12K-US ION XE 20 12K-US - ION XE 20 12K-US - Ion Xe 20 12K Console with 12,288 Outputs/Parameters, ships with: 1 - 3-button scroll mouse 1 - External keyboard 1 - Locking regionalized IEC power cord 1 - M7183 Littlite LED console work light 1 - Ion Xe dust cover 1 - Augment3d AR target kit 2- 24" TOUSCHCREEN | EA | 1 |  | 0
86 | ETC EOS FW 40 4240A1024-US Eos Fader Wing, 40 Fader | EA | 1 |  | 0
87 | ETC ETCPAD 4250A1222 ETCpad wired/wireless tablet | EA | 1 |  | 0
88 | WBOX 0E-RCKMT2200 Battery Back Up 2,000VA / 1540W Line Interactive, Uninterruptable Power Supply (UPS) | EA | 1 |  | 0
89 | Lighting Product House Light Control Package including: 1 x Rack 1 x touchscren station 2 x entrance stations 1 x UPS | EA | 1 |  | 0
90 | Labor Remocion e instalacion de equipo | EA | 1 |  | 0
91 | TLS SCB Safety Cable 30 Black | EA | 24 |  | 0
TÉRMINOS Y GARANTÍAS
| TÉRMINO DE ENTREGA DE PROYECTO: |  |  | TOTAL | 0
| GARANTÍA DEL PROYECTO: |  |  | PROYECTO